## Slide 1: B050 data analysis

## Slide 2: Representative Well
Notes: Well, E9

## Slide 3: Representative Well

## Slide 4: Overlay all the wells
Notes: All the wells, with no SSC gating
Fsc hist overlaid

## Slide 5
There is a tradeoff to set a SSC or FSC gating
  Lower SSC gating leads to debris event
  Higher SSC gating might leads to loss of cells

## Slide 6: Manual selecting cells
Notes: E9 well

## Slide 7: Manual selecting cells

## Slide 8: FSC

## Slide 9: SSC

## Slide 10: Cum Counts, ~.2%
Notes: E9,
Also, tried D12

## Slide 11: Outgrowth/Recovery

## Slide 12: bfp_ssc

## Slide 13: cfp_ssc

## Slide 14: yfp_ssc

## Slide 15: mch_ssc
Notes: Strange, that CFP cells are on in mCh channel

## Slide 16: Cell Density and Flowrate

## Slide 17: cfp_mCh
Notes: Plate 2 in recovery folder

## Slide 18: A1, the simplest well with the slowest flowrate

## Slide 20
in order to see how acquisition parameters affect cell counts, segmentations are needed.